TOWEF0

(Toward Effluent Zero)

EVALUATION OF THE EFFECT OF THE IPPC APPLICATION ON THE SUSTAINABLE WASTE MANAGEMENT IN TEXTILE INDUSTRIES

PROCESS IDENTIFICATION AND

DATA COLLECTION SHEET

WP02.02.3-WP02.03.3

WP03.02.8-WP03.03.8

Company:   	B03

Address:

Contacts:

MAY 2003

a) Production:

Reference year: 2000

| Fiber | Type | (%) of total weight | processed m | kg per linear meter | processed kg |
| --- | --- | --- | --- | --- | --- |
| PES | fabric | 22 |  |  | 830 000 |
| PA | fabric | 2 |  |  | 80 000 |
| CO/PES | fabric | 57 |  |  | 2 096 000 |
| CO/PA | fabric | 19 |  |  | 691 000 |
| TOTAL: |  |  |  |  | 3 697 000 |

Notes:

b) Water use:

Reference year: 2000

b.1) Supplied water:

| Source | Quantity [m3/yr] | Cost [€/m3] | Energy consumption [kWh/m3] |
| --- | --- | --- | --- |
| potable water | 215 | 2.17 |  |
| ground water | 389 257 | 1.27 | 1.5 |
| TOTAL: |  |  |  |

Notes:

b.2) Process water and treatment for internal use:

| Water type | Source | Treatment | Use | Quantity [m3/yr] | Treatment specific cost [€/m3] |
| --- | --- | --- | --- | --- | --- |
| 1 (potable water | potable water | none | domestic | 215 | 0 |
| 2 (ground water) | own wells | none | production | 389 257 | 0 |

Notes:

b.3) Process water analytic features:

| Source- Type | 2 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| T [°C] |  |  |  |  |  |
| Conductivity [mS/cm] | 694 |  |  |  |  |
| Hardness [°F] | 4 |  |  |  |  |
| pH [-] | 8.2 |  |  |  |  |
| COD [mg/l] | <15 |  |  |  |  |
| TSS [mg/l] |  |  |  |  |  |
| Fe (mg/l) | <0.01 |  |  |  |  |
| Mn (mg/l) | <0.004 |  |  |  |  |
| - - - - - |  |  |  |  |  |

Notes:

b.4) Steam production:

| Source- Type | Quantity [m3/yr] | T max [°C] | Use |
| --- | --- | --- | --- |
| ground water |  | 102 °C | bleaching cotton, fixation dyestuff (dyeing cotton with direct dyestuff), printing (development of acid dyestuff) |
| ground water |  | 180°C (part of the steam is transformed into superheated steam) | printing (development of disperse dyestuff) |
| TOTAL (groundwater) | 8000 |  |  |

Notes:

b.5) Discharged water:

| Type |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Quantity [m3/yr] | 367 576 |  |  |  |  |
| Final destination | surface water |  |  |  |  |
| Features: |  |  |  |  |  |
| T [°C] | 24 |  |  |  |  |
| Conductivity [mS/cm] |  |  |  |  |  |
| Hardness [°F] |  |  |  |  |  |
| pH [-] | 8.5 |  |  |  |  |
| COD [mg/l] | 1046 |  |  |  |  |
| BOD5 [mg/l] | 197 |  |  |  |  |
| SST [mg/l] | 97 |  |  |  |  |
| Ntot [mg/l] | 12.32 |  |  |  |  |
| N-NH4 [mg/l] |  |  |  |  |  |
| N-NO2 [mg/l] |  |  |  |  |  |
| N-NO3 [mg/l] |  |  |  |  |  |
| Ptot [mg/l] | 2.2 |  |  |  |  |
| Absorbance 420 nm |  |  |  |  |  |
| Absorbance 550 nm |  |  |  |  |  |
| Absorbance 680 nm |  |  |  |  |  |
| Anionic surf. [mgMBAS/l] |  |  |  |  |  |
| Non-ionic surf. [mgBiAS/l] |  |  |  |  |  |
| Cationic surf. [mg/ l] |  |  |  |  |  |
| Chlorides [mg/l] |  |  |  |  |  |
| Chlorine [mg/l] |  |  |  |  |  |
| AOX [mg/l] |  |  |  |  |  |
| Chrome [mg/l] | 0.0408 |  |  |  |  |
| Copper [mg/l] | 0.1196 |  |  |  |  |
| Endocrine activity |  |  |  |  |  |
| Hydrocarbons [mg/l] |  |  |  |  |  |
| Iron [mg/l] |  |  |  |  |  |
| Manganese [mg/l] |  |  |  |  |  |
| Nickel [mg/l] | 0 |  |  |  |  |
| Zinc [mg/l]ì | 0.3646 |  |  |  |  |
| Toxic Units (for algae) |  |  |  |  |  |
| Toxic Units (for fish) |  |  |  |  |  |
| Toxic Units (for bacteria) |  |  |  |  |  |
| Toxic Units (for invertebrates) |  |  |  |  |  |

Notes:

c) ENERGY CONSUMPTIONS:

| Source | Unit | Use | Quantity | Specific cost [€/ ] |
| --- | --- | --- | --- | --- |
| gas | m³/yr | production | 2 718 623 | 0.239 |
| electricity | kWh/yr | production | 6 205 071 | 0.076 |

d) DEPARTMENTS AND WORKING TIME:

| Department. | Operating days | Daily operating period | Weekly operating period | N° of shifts per days |
| --- | --- | --- | --- | --- |
| continuous dyeing | 224 | 24/24 | Mon 5 am – Sat 5 am | 3 |
| discontinuous dyeing | 224 | 24/24 | Mon 5 am – Sat 5 am | 3 |
| printing | 224 | 5 am – 9.30 pm | Mon 5 am – Fri 9.30 pm | 2 |

Notes:

e) EQUIPMENT:

| Department. | Equipment | Item | Quantity | Operating | Bath Volume [m3]* | Installed power (kW) |
| --- | --- | --- | --- | --- | --- | --- |
| continuous dyeing | desizing line | DL1 | 1 | continuous | 4 |  |
|  | bleaching line | BL1 | 1 | continuous | 5 |  |
|  | thermosol (PES/CO) | TH1-TH2 | 2 | continuous | no water used, since no rinsing operations |  |
|  | thermosol PES | TH3 | 1 | continuous | 4 |  |
|  | pad-roll | PR1 | 1 | semi- continuous | no water used, since no rinsing operations | 85 |
| continuous dyeing | pad-batch | PB1 | 1 | semi- continuous | no water used, since no rinsing operations |  |
|  | pad-steam | PS1 | 1 | continuous | 5 | 174 |
| discontinuous dyeing | jet | J2-3-11 | 3 | discontinuous | 2 | 21 |
|  | jet | J4-5-9-10 | 4 | discontinuous | 3 | 40 |
|  | jet | J6 | 1 | discontinuous | 6 |  |
|  | jet | J7-8-12-13 | 4 | discontinuous | 1.4 |  |
| printing | rotary-screen printing | PL1-PL2 | 2 | continuous |  |  |
|  | rinsing line | RL1 | 1 | continuous | 4 |  |

* volume of bath for batch equipment or volume of starting bath for continuous equipment

Notes:

Annexes (all sheets have to be considered as relevant part of the whole document):

- An.A: Material flow chart;

- An.B: Energetic flow chart;

- An.C: Water flow chart;

- An.D: Production model;

- An.E: General Facilities - Process scheme (number of pages:….);

- An.F: Preparation - Process scheme (number of pages:….);

- An.G : Dyeing - Process scheme (number of pages:….);

- An.H : Xxxx (*) - Process scheme (number of pages:….);

- An.I: Water consumptions (number of pages:……);

- An.L: Water discharges (number of pages:….);

- An.M: Discharged water analytic data (number of pages:……);

- An.N: Chemicals safety data sheets (number of pages…..+number of pages ……as attachments).

(*):Xxxx: name of department